## BOM Items
SYNTHETIC SAMPLE RFQ - ACME AUTOMATION PROJECT
Requested Delivery: 2026-11-15 | Payment Terms: Net 30
Item # | Manufacturer | Part Number | Description | Qty | UOM | Notes
1 | Schneider Electric | LC1D09BD | TeSys D contactor 9A 24VDC | 10 | EA | Standard coil
2 | Schneider Electric | LC1D25BD | TeSys D contactor 25A 24VDC | 4 | EA
3 | Schneider Electric | XB4BA31 | Flush green pushbutton 1NO | 25 | EA | Panel front
4 | Schneider Electric | XB4BV63 | Green pilot light 250V | 15 | EA
5 | Schneider Electric | GV2ME10 | Manual motor protector 4-6.3A | 6 | EA
6 | Siemens | 6ES7214-1AG40-0XB0 | S7-1200 CPU 1214C DC/DC/DC | 2 | EA | Main controller
7 | Siemens | 6ES7223-1BL32-0XB0 | S7-1200 SM 1223 16DI/16DO | 4 | EA
8 | Siemens | 3RT2015-1BB41 | SIRIUS power contactor 7A 24VDC | 12 | EA
9 | Siemens | 3RV2011-1AA10 | SIRIUS motor starter 1.1-1.6A | 8 | EA
10 | Omron | E2E-X7D1-N | Proximity sensor M18 shielded | 20 | EA | With 2m cable
11 | Omron | MY4N-D2-DC24 | Miniature relay 4PDT 24VDC | 50 | EA | With LED
12 | Omron | H3CR-A8 | Solid state timer 100-240VAC | 5 | EA
13 | Omron | S8VK-G24024 | DIN rail power supply 240W 24VDC | 3 | EA | Cabinet power
14 | Eaton | FAZ-C10/1 | Miniature circuit breaker 1P 10A | 30 | EA | Branch protection
15 | Eaton | FAZ-C16/2 | Miniature circuit breaker 2P 16A | 15 | EA
16 | Eaton | DILM9-10(24VDC) | Contactor 3P 9A 1NO 24VDC | 6 | EA
17 | Phoenix Contact | 2900364 | PLC-RPT-24DC/21 Relay Module | 40 | EA | Push-in terminals
18 | Phoenix Contact | UT 2.5 | Feed-through terminal block gray |  | EA | Quantity missing on drawing
19 | Unknown Mfr | NONEXISTENT-PART-999 | Custom enclosure bracket | 2 | EA | Special fabrication
20 | Acme Industrial | ABC-12A | Thermal overload relay with aux NC | 5 | EA | Verify suffix -12A